- For the planar frame shown in Figure 1. Design Column AB. For material property, dimension and load type please refer the tables below.

NB:

- Use pattern loading for the design of Column AB.

- All dimensions are in mm unless specified

| - Use C30/37 Concrete | - Beam Dimension (Depth X Width) for: |
| --- | --- |
| - Use S400 Rebar | - Ground Floor 350x250mm |
|  | - First Floor 500x400mm |
|  | - Roof 500x350mm |
|  | - Column Dimension for all: |
|  | - Depth = 600mm |
|  | - Width = 350mm |

| Floor type | Dead Load (Gk)- KN/m | Live Load (Qk)- KN/m |
| --- | --- | --- |
| Ground Floor | 16 | 0 |
| First Floor | 80 | 32 |
| Roof | 60 | 0 |

Figure 1: Planar Column