## Slide 1
Procedures for calculation
Begin by recognizing the flow geometry (i.e. flat plate, sphere, cylinder etc.)
Specify appropriate reference temperature for evaluation of fluid properties (usually film temperature, equation 7.2)
Calculate Reynolds number – determine whether flow is laminar or turbulent
  Reminder: Transition criteria:
Decide whether a local or average heat transfer coefficient is required
Use appropriate correlation to determine heat transfer coefficient
Proceed with other calculations, such as determination of heating or cooling rate
Flat plates