## Slide 1: Chapter Six
Corona and Radio Interference

## Slide 2: Introduction
The literal meaning of Corona is “a bright circle seen around the sun or the moon.”
This term is borrowed to describe partial discharge that developed in the presence of high electric field.
When an alternating potential difference is applied across two conductors whose spacing is large in comparison with the diameter, then the air surrounding the conductor is subjected to electro-static stress.

## Slide 3
This stress is maximum at the surface of the conductor and then decreases in inverse proportion to the distance from the center of the conductor.
If this potential difference is gradually increased, a point will be reached when a faint luminous glow of violet color will make its appearance and at the same time a hissing noise will be heard.
This phenomenon is called corona and is accompanied by the formation of ozone, as is indicated by the characteristic odor of this gas.

## Slide 4
If the potential difference is further increased, the glow and the noise will increase in intensity until eventually a spark-over will take place.
Corona is accompanied by power loss, which is in the form of heat, light, sound and chemical action.
In case of AC systems, current flow due to corona is non-sinusoidal and in practice this non-sinusoidal current and non-sinusoidal voltage drop by corona may be more important than the power loss.

## Slide 5
The effect of corona can be summarized as follows:
  It is accompanied by power loss.
  A luminous violet glow is observed around the conductor.
  This glow is much brighter over rough and dirty surfaces of the conductor.
  It produces a hissing noise.
  It produces ozone gas which can be readily detected by its characteristic odor.

## Slide 6: Potential Gradient for a Single Phase Line
Radius of each conductor is r.
The potential gradient at a point P, x distance from conductor 1 is given by:
Whereis voltage gradient at point P due to charge +q on conductor 1 and is voltage gradient at point P due to charge –q on conductor 2.

## Slide 7
We know that:
Therefore,

## Slide 8
The voltage gradient is maximum at the surface of the conductor, where x=r.
Since D is large compared with r, approximately:
Potential differencebetween the conductors of a single phase line is:
volt/m
volt/m

## Slide 9
Therefore:

## Slide 10: Potential Gradient for a Three Phase Line
Let Ga, Gb and Gc denote the voltage gradients at the surfaces of the conductors in phases a, b and c respectively.

## Slide 11
The voltage is given by:
Similarly:
(
(

## Slide 12
For a transposed line:
But:
(
(

## Slide 13
Therefore:

## Slide 14: Disruptive Critical Voltage for a Single Phase Transmission Line
The minimum voltage at which complete disruption of air occurs and corona starts is called the disruptive critical voltage.
The potential gradient corresponding to this value of the voltage is called disruptive critical voltage gradient.

## Slide 15
The breakdown strength of air at a pressure of and temperature of is (peak).
Let:
Then:

## Slide 16
But:
Therefore:
The R.M.S. value of the disruptive critical voltage for single phase line is given by:

## Slide 17: Disruptive Critical Voltage for a Three Phase Transmission Line
Let:
If , then .
The R.M.S. value of the disruptive critical voltage for three phase line is given by:

## Slide 18: Formula for Disruptive Critical Voltage Suggested by F.W.Peek
Based on experimental data, Peek suggested that the disruptive critical voltage is directly proportional to the air density factor over a considerable range.
The air density factor at a pressure of and temperature of can be given as:
For single phase line:
For three phase line:

## Slide 19
When conductor surface is rough and dirty, disruptive critical voltage is somewhat less.
To consider this effect a factor [called irregularity factor or surface factor or roughness factor] must be used.
The approximate value of given by F.W. Peek are as follows:

## Slide 20: Visual Critical Voltage
Visual luminous glow of corona generally occurs at a voltage higher than the disruptive critical voltage.
Voltage gradient 30kV/cm will cause ionization when this value is reached at a distance of from the conductor axis, where r is in meters.
The expression of the visual critical voltages for single phase and three phase lines can be given as when the effects of irregularity of the surface of the conductor and air density factor are considered

## Slide 21
For a single phase line:
For a three phase line:
Where is roughness or irregularity factor.
    1.0 for smooth conductor.
    0.70 to 0.75 for local corona when the effect is first visible at some places along the line.
    0.80 to 0.85 for general corona along the whole length of the conductor.

## Slide 22: Corona Power Loss
Estimation of accurate corona loss is very difficult because of its extremely variable nature.
It has been found that corona loss under fair weather conditions is very small as compared to the losses found under foul weather conditions.
According to F.W. Peek, under fair weather conditions:
Note that: (for single phase)
kW/km/phase
(for three phase)

## Slide 23
Where:

## Slide 24
Peek’s formula for corona loss is valid when corona losses are predominant and the ratio is greater than 1.8.
When this ratio is less than 1.8, the following formula known as Peterson’s formula, gives better results:
The factor is called the corona loss function and it varies with the ratio .
kW/km/phase

## Slide 25
Where:

## Slide 26: Effect of Corona on Line Design
Transmission lines are designed in such a way that the corona loss is small enough in fair weather condition because it reduces the efficiency of the lines.
If disruptive critical voltage of about 10% more than the operating voltage, then it is acceptable even though some corona loss will take place under foul weather condition.
An increase in and increases the disruptive critical voltage, thus reduces the corona loss but increases the cost.

## Slide 27: Reading Assignment
Advantages and disadvantages of corona in transmission lines
Factors affecting corona loss
Methods to reduce corona loss
Radio interference