AMBO UNIVERSITY WOLISO CAMPUS

School of Technology and Informatics

Department Of Civil Engineering

Course Name: Water supply and urban drainage (Ceng 3171)

#### Summer credit hr: 3 ETCTS 5

Pre-requisite: Engineering hydrology

Enrollment: Weekend                class year III and semester II  Instructors name: Ararsa G.      Email: gadafaaroo25@gmail.com

Phone No: +125-919793641

Course Objectives

- To familiarize the students with the design of water supply systems, demand projection, design of storm water drainage, and identification of water supply sources.

- Able the students how to identify the sources of potable water, how to design pipes and pipe networks and how to develop wells.

CHAPTER ONE

1.0   DEMAND FOR WATER

  - 1.1. Variation and Factors Affecting demand

  - 1.2. Quantity of Water for Domestic and Industrial Uses

  - 1.3 Fire Demand

CHAPTER TWO

- METHODS OF FORECASTING POPULATION

CHAPTER THREE

- SOURCES  OF WATER

  - Types

  - Source Selection Criteria

CHAPTER FOUR

- COLLECTION AND DISTRIBUTION OF WATER

  - 4.1 Intakes

4.2 Methods of Distribution

  - 4.3 Service Reservoirs

  - 4.4 Pipes Used in Water Distribution Systems

    - 4.5 Pipe Materials

    - 4.6 Determination of Pipe Sizes

    - 4.7 Energy Losses in Pipes

    - 4.8 Pipe Appurtenances

  - 4.9 Pipes System

4.10 Methods of Laying Distribution Pipes

CHAPTER FIVE

- INTRODUCTION TO WATER TREATMENT

  - Preliminary Treatment methods

  - Coagulation-Sedimentation

  - Filtration

  - Disinfection

  - Miscellaneous Methods of Water Treatment

CHAPTER SIX

- 0 PHYSICAL, CHEMICAL AND BIOLOGICAL ANALYSIS OF WATER

CHAPTER SEVEN

- 0 WATER, SANITATION AND HEALTH RELATIONSHIP

CHAPTER EIGHT

- 0 INTRODUCTION TO WATER CARRIAGE SANITATION SYSTEMS

  - 8.1 Septic Tanks

  - 8.2 Sewerage Systems

CHAPTER NINE

- 0 INTRODUCTION TO NON-WATER CARRIAGE SANITATION SYSTEMS

  - 9.2 Solid Waste Management

  - Reference

- Water Supply and Sanitation. Steel & Terence

- Environmental Engineering. Peavy, Rowe & Techobanoglous

- Water & Waste Water Engineering.Vol1&2, Fair, Geyer & Okun

- Water, Waste & Health in Hot Climates. Feacham, Mc Garry & Mara

- Environmental Health Engineering in the Tropics.Caircross & Feacham

- Small Community Water Supplies. Hofkes.

N.B:- the assignment will be submitted after a material on lined two week after.

For more information contact me by email.