Example

Design a cantilever retaining wall for the condition shown below

p

H

1,1

D

2 ,2, C2

= 150						2= 16kN/m3

H =9m						2 =200

P = 20kN/m2					C2 = 50kN/m2

D= 1.5m					C25

1= 340					steel grade 300

1= 18kN/m3

Requirement

- Stability analysis

- Structural design

  - Determination of steel cut offs

  - Drainage provision

  - Structural Drawing

Solution

i,  Tentative Design Dimension

9m

0.80m

7m

p= 20kN/m2

2.35m

50cm

tb

=150

- Calculation of the thickness of the base of the stem

H

9m

10.11m

tb

H=P=2018=1.11m

The horizontal component of lateral earth pressure on the stem is

Ph =  h cosKa

Where Ka=CosCosβ-Cos2β-Cos2Cos+Cos2β-Cos2=0.311

6.04kN/m2

50cm

Then Ph= 18 * h* 0.311*Cos 150

tb

55.03kN/m2

When        h = 1.11m ,Ph = 6.04kN /m2

x

When       h= 10.11m  ,Ph = 55.03 kN/m2

9m

Shear force at the base of the stem

V=6.04+55.032*9=274.815kN/m

Wide beam shear resistance of concrete, Vud

Take tb= 0.80m

Vud = 0.25fctd k1k2bwd       (MN)

k1 = ( 1+50) = (1 +50*0.0017) =1.085

k2 = 1.6 – 0.8  =1.6 -0.8 = 0.8, Take K2 = 1.0

Vud = 0.25 *1000*1.085*1.0*1.0*0.80 =217kN/m<Vd….not Ok!

Take tb= 1.1m

Vud = 0.25 *1000*1.085*1.0*1.0*1.1 =298.38kN/m>Vd….Ok!

ii, Calculation of  Vertical Dead Loads

W6

p= 20kN/m2

0.50m

W5

=150

3.55 tan150 =0.95m

W1

W4

W2

9m

W7

1.10m

3.55m

2.35m

W3

0.80m

7m

W1= 0.50*9.0*25           		= 12.50kN/m

W2  = ½ * 0.60* 9.0* 25   		  = 67.50kN/m

W3 = 7.0 *0.80* 25                          = 140 kN/m

W4  =3.55 * 9.0 * 18                       = 575.10 kN/m

W5  = ½ * 3.55 * 0.95* 18               = 30.35kN/m

W6  =3.68 * 20                                 = 73.6kN/m

W7 =2.35 *16 *0.7                          = 26.32kN/m

= 1025.37kN/m

iii, Calculation of Lateral Earth pressure

=150

3.55 m

p= 20kN/m2

PA

H’

150

PA=  ½ *  * H’2 * Ka

Where   H’ = 0.80 + 9.0 + 3.55 tan 150  + 20/18   = 11.86m

Then             PA = ½ * 18 * (11.86)2 * 0.311  =393.71kN/m

Horizontal component of PA

PAh  =393.71 cos150  = 380.30kN/m

Vertical component of PA

PAv  =393.71 sin150 = 101 .90kN/m

iv,  Eccentricity of the resultant

V  =i=16(Wi+PAV)  = 1025.37+ 101.90 = 1127.27kN/m

W6

0.50m

W5

=150

W1

W4

PAV

W2

9m

W7

PAh

1.10m

H’/3 = 3.95m

3.55m

2.35m

W3

0.80m

t

7m

Point of application of the resultant

To find the point of application of the resultant take moment of all forces about the toe of the wall

Mt = 3.2 * W1 + 2.75 * W2 +3.5 * W3 + 5.225 * W4 + 5.82 * W5 + 5.29 *W6 + 1.175 *W7

7 *  PAV  - 3.95* PAh

=  3.2 * 112.50 + 2.75 * 67.50 +3.5 * 140+ 5.225 * 575.10 + 5.82 * 30.35 + 5.29 *73.6 +1.175 *26.32+  7 *  101.90  - 3.95* 380.30

= 5350.73 – 1502.19  =3848.54kN-m/m

X=3848.541127.27=3.41m

Eccentricity of the resultant, e

e=72-3.41=0.09m<76=1.17m

(The resultant is located within the middle third)

v, Calculation of Bearing Capacity

qult = CNcScdcic+ q NqSqdqiq   + ½ B’ N Sdi

B’ = B – 2e = 7 – (2*0.09) = 6.82m

Bearing capacity factors

Nq  = tan2 (45+/2) e tan

Nc = (Nq– 1) Cot

N= 2(Nq– 1) tan

For    = 200

Nq  = 6.4 , Nc = 14.84 , N= 5.39

Shape factors

For contionous (strip) footing

Sc = Sq = S = 1.0

Load Inclination Factors

ic = iq= ( 1- / 900)2 	,	i = ( 1- / )2

Where   = Inclination of the load to the vertical in degree

V = 1127.27

R

= tan -1 (380.30/1127.27) = 190

PAh = 380.30

For    = 190

ic = iq = 0.62 , i  = 0

Depth Factors

dc  = 1+ 0.4 (Df / B)

dq = 1+2 tan  (1-sin)2(Df / B)

d = 1

Where    = Angle of shearing resistance of soil in degree

For Df/ B = 1.5/ 7 = 0.21

dc = 1.08  , dq  = 1.07 , d = 1

Then

qult = 50* 14.84 *1*1.08* 0.62 + 18* 1.5* 6.4*1.0 *1.07* 0.62 +                               ½ * 6.82 * 16*5.39*1.0*1.0* 0

= 611.48kN/m2

vi,  Calculation of contact  pressure under the base of the wall

- from flexural formula

q=VBL1±6eB

qtoe=1127.277*11+6*0.097=173.46kN/m2<qult

qheel=1127.277*11-6*0.097=148.62kN/m2≫0

Checking of the thickness of the base for shear stresses

W6

0.50m

W5

W4

2.35m

1.10m

W7

3.55m

WB1

WB2

0.80m

173.46kN/m2

148.62kN/m2

165.12kN/m2

161.22kN/m2

Heel

Take D = 80cm =0.80m

d= 80-7.5-1=71.5cm

V = 575.10 + 30.35 +73.60 + 3.55 * 0.80 *25 – (148.62 *3.55) - ½ *(161.22– 148.62) * 3.55

= 200.08kN/m

Vud = 0.25fctd k1k2bwd       (MN)

k1 = ( 1+50) = (1 +50*0.0017) =1.085

k2 = 1.6 – 0.715  =0.885,  Take K2 = 1.0

Vud = 0.25 *1000*1.085*1.0*1.0*0.715 =193.94kN/m<Vd….not Ok!  Increase the thickness

Take D = 0.90m

V = 575.10 + 30.35 +73.60 + 3.55 * 0.90 *25 – (148.62 *3.55) - ½ *(161.22 – 148.62) * 3.55

= 208.96kN/m

Vud = 0.25 *1000*1.085*1.0*1.0*0.815 =221.07kN/mVd…. Ok!

Toe

V = 0.7 *16* 2.35 + 25* 2.35* 0.90 – (173.46 +165.12)/2  * 2.35

= -318. 64kN/m<Vd….not Ok!  Increase the thickness

Take D = 1.20m

V = 0.7 *16* 2.35 + 25* 2.35* 1.15 – (173.46 +165.12)/2  * 2.35= 291.97kN/m

Vud = 0.25 *1000*1.085*1.0*1.0*1.115 =302.44kN/mVd…. Ok!

vii, Stability against Overturning

FS = MRMO

From iv, MR = 5350.73kN-m/m,              Mo = 1502.19kN-m/m,

Then

FS = MRMO= 5350.731502.19=3.56>1.5…….ok

viii,  Stability against Sliding

FS = Resisting forceDriving force

Resisting force,      Fr= Vtan’ + C’B

= 1127.27tan200 +2/3 (50)(7) = 643.63kN/m

Driving force               Fd=  Pah  =  380.30kN/m

Then

FS =  643.63380.30=1.69>1.5…….ok

ix,  Structural Design

a, Design of Stem

- For the design of the stem, the vertical component of PA and own weight of the stem are neglected

6.04kN/m2

x

55.03kN/m2

9m

Moment equation

M = 8.165*X3/9  +  3.02 *X2

When X = 4.5m

M = 143.83kN-m/m

When X = 9m

M = 905.98kN-m/m

The required steel quantity at the depth of 4.5m and 9m may be calculated using a cover of 75mm

- Moment capacity of concrete

At  X = 4.5 m

M = 0.32 * fcd * bd2 = 0.32 *11.33*1000*1.0 *(0.715)2 =1853.50kN-m/m > 143.83….ok

At  X = 9 m

M = 0.32 * fcd * bd2 = 0.32 *11.33*1000*1.0 *(1.015)2 =3735.18kN-m/m >Mdeveloped     ok

B, Design of Heel

W6

0.50m

W5

W4

2.35m

1.10m

W7

3.55m

WB1

b

a

0.80m

WB2

b

a

173.46kN/m2

148.62kN/m2

165.12kN/m2

161.22kN/m2

Ma-a  = 1.84 *W6+2.37 * W5+1.775 * W4+1.775 * WB1-(148.62 *(3.55)*3.55/2)- ½ *(161.22– 148.62) * 3.55*1/3 (3.55)

= 135.42+ 71.93+ 1020.80 + (3.55*1.20*25*3.55/2) - 936.49-105.86 = 374.84kN-m/m

- Moment capacity of concrete

M = 0.32 * fcd * bd2 = 0.32 *11.33*1000*1.0 *(1.115)2 =4507.44kN-m/m > 374.84….ok!

C.  Design of Toe

Mb-b  =(165.12 *(2.35)*2.35/2)+ ½ *(173.46– 165.12) * 2.35*2/3 (2.35)-1.175 *W7 -1.175 * WB2

= 455.94+15.35 -30.93 -(2.35*1.20*25*2.35/2)= 357.52kN-m/m

Moment capacity of concrete

M = 0.32 * fcd * bd2 = 0.32 *11.33*1000*1.0 *(1.115)2 =4507.44kN-m/m > 357.52….ok!