Design one way ribbed floor system shown below subjected to partition load of 3kN/m and live load of 5kN/m2 materials used include C-30, S-300 and class I work. Ribbing in the X –direction

5m

6m

7m

Solution

Cross section of ribbed slab

bw≥70mm say  bw=80mm

dw≥4*70mm=280mm

Ribbed spacing 
S≤1000mm for practical case S=400mm

Clear distance 
be=400-80=320mm

Slab thickness hf

df=50mm or 110*clear distancebe=110*320=32mm

Take the larger of the two df= 60mm For practical case dw≤280mm and D=300mm
bw+df=300mm ≫≫ dw=240mm

60mm

400

80mm

The rib is to be considered like a T section

be

hf

dw

bw

Considering Second panel S2 (slab2)

be≤bw+Le5=80+50005=1080mm or C/C b/n beam spacing =400mm

Therefore take be=400mm

Loading

Dead load, self weight =250.08*0.24+0.06*0.4=1.08kN/m

Floor finishing (cement screed +PVC tile) (23*0.03+0.02*16)*0.4=0.404kN/m

Partition load (DL) =3*0.4=1.2kN/m

Total dead load (DL) = 1.08+0.404 1.2=2.684kN/m

Live load LL =5*0.4=2kN/m

Design load (Pd=1.3DL+1.6LL=1.3*2.684+1.6*2=6.69kN/m

Analysis

Take into account the variation of load

Maximum support moment (for maximum loading case

24.4

5m

6m

3EI/L

3EI/L

6

5

Rel. K

0.55

0.45

-30.11

DF

20.91

BM

+4.14

+5.06

25.97

25.97

24.4

15.74

11.53

21.92

15.74

25.77

11.53

18.52

9.44

- Maximum span moment for (DL only on second panel)

2.68

6m

10

1.29

20.82

20.33

16.68

2.63

11.53

23.46

10.77

16.68

20.33

-20.33

+11.95

+9.78

8.38

-30.11

0.55

0.45

6

3EI/L

3EI/L

5m

23.46

Rel k

FEM

10

2.68

SFD

2.63

BMD

Design constants

C-30 ≫≫ fck=301.25=24MPa

fcd=0.85*fck1.5=0.85*241.5=13.6MPa

S-300 ≫≫ fyk=400, fyd=fyk1.15=3001.15=260.87MPa

m=fyd0.8fck=260.870.8*13.6=23.98

c2=0.32fcd=0.32*13.6=4.352 and c1 =2.5

400mm

60mm

240mm

80mm

For Maximum Span Moment, Mmax =20.82kN.m assuming b=be=400mm

kx=0.5*(c1-c12-4Mdbd2c2=0.5*(2.5-2.52-4*20.82300*5402*3.616=0.073<kx max

Amount of reinforcement

As=kxmbd=0.07323.98*400*259=315.38mm2

ρmin=0.5fyk=0.5400=0.00125≫≫≫As min=ρminbd=0.00125*400*259=129.5mm2

As>ASmin ok

Let use ∅12 as=d2π4=π*1224=113.1mm2

number of bars ∅12=315.38113.1=2.79 ≫≫use 3∅12 bars

For maximum support moment Mmax =25.97kN.m

For the negative bending moment consider rectangular beam b=bw =80mm check for d value.

d=Mmax0.8fcdbkx max(1-0.4kx max)=25.97*1060.8*13.6*80*0.448*1-0.4*0.448=284.85mm≅285mm>259mm not safe

Increase the value of bw =100mm

d=Mmax0.8fcdbkx max(1-0.4kx max)=25.97*1060.8*13.6*100*0.448*1-0.4*0.448 =258mm<259mm safe

Use bw =100mm the load increase =25(0.24*0.02) =0.12kN/m

Pd=1.3*0.12=0.156kN/m

Moment incremental =
Md=6.69+0.1566.69*by initial moment =1.02*25.97=26.58kN.m

kx=0.5*(c1-c12-4Mdbd2c2=0.5*(2.5-2.52-4*26.58100*2592*4.382=0.439<kx max

Amount of reinforcement

As=kxmbd=0.43923.98*100*259=473.79mm2

Let use ∅12 as=d2π4=π*1224=113.1mm2

number of bars ∅12=473.79113.1=4.19 ≫≫use 5∅12 bars

Shear reinforcement

In the vicinity of the support assume supporting beam with to be 300mm. the largest shear at d-distance from face of support (in the case of loading case 1)

Shear capacity of the section

VC=0.25fckdk1k2bwd

fctd=0.21(fck)2/3γc=0.21*(24)2/31.5=1.165MPa

k1=1+50ρ, ≫≫≫ρ=Asbd=5*113100*259=0.0218

k1=1+50*0.0218=2.09>2 thus take k1=2  and  k2=1.6-d=1.6-0.259=1.341

VC=0.25fckdk1k2bwd=0.25*1.165*2*1.341*100*259*10-3=20.23kN≅Vsd

Since
VC≅Vsd  provide minimum reinforcement

Smax=Avfyk0.4bw=56*3000.4*100=420mm

smax = 0.5d =0.5*259=129.5mm ≤  300mm if Vsd ≤

Use Φ8 stirrups c/c 130mm

The transverse reinforcement at topping cross sectional area per rib

AC=60*400+240*100=48000mm2

Based on EBCS -2 Ast=0.001AC=0.001*48000=48mm2

Spacing ∅8=400*5060=333.33 use ∅8cc330mm<400mm ok

Longitudinal shear (υsd) per unit length

Flange in compression

Compression under span moment (Mmax) =20.82kN. m

kx max=0.448=xd≫≫x=0.448d=0.448*259=116.03mm

Z=d-0.4x=259-0.4*116.03=212.59mm

b=400mm,  bw=100mm

υsd=be-bw2be*VsdZ=400-1002*400*20.63212.59=36.39kN

VRd1=0.25fcdhf=0.25*13.6*60=204kN>36.39kN

Therefore it is safe against failure by crushing concrete

VRd1=0.5fctdhf+AsffydSf ≫≫Asf=50*1000330=151.5mm2

VRd1=0.5*1.165*60+151.5*260.87330=154.713kN>36.39kN safe